Specification

Electrical characteristics

General

- Electrical characteristics

- Typical capacity250 VDC/300mA

- General

- Shell materialFlame Retardant ABS

- Dimension(WxHxD)49.5 mm × 53.5 mm × 32.5 mm

## DS-PD1-EB

- Flame retardant ABS shell

- Connection mode: NO/NC